Evacuation of Ships and Buildings based on a CA model
Evacuation of Ships and Buildings based on a CA model
www.traffgo-ht.com

---
„Bilderbuch Duisburg“
„Bilderbuch Duisburg“
Bilderbuch Duisburg.avi

---
Topics
Topics
Model Characteristics
Calibration: Experiments and Observations
Alternative Methods: „Hand calculations"
Validation: Exercises, Reports, Field Studies
Technical Aspects: CAD etc.
Assessment based on simulation results
Limits (in principle, time, memory)

---
TraffGo
TraffGo

---
TraffGo HT, Background
TraffGo HT, Background
Physics of Transport and Traffic,
Universität Duisburg-Essen
Started in 2001
Support from „Pfau“ (now: „Exist“)
„Since I‘m a member of the Green Party and not catholic, this is the most attractive position available.“

---
TraffGo HT, References
TraffGo HT, References
Cooperation Germanischer Lloyd AG
Maritime Industry (FSG, Meyer, Kvaerner)
Built Industry (Stadiums, WYD, Hajj)
Guideline (www.rimea.de ) – open project
www.ped-net.org
PED 2008 (www.ped2008.com)
„Last-mile evacuation“

---
Data
Data

---
Introduction – Groups
Introduction – Groups
Panic is a controversial concept.

---
Influence of Group Size
Influence of Group Size
1,30
332
sum
1,10
2
6
1,22
10
5
1,24
17
4
1,24
59
3
1,28
149
2
1,38
95
1
Speed
Number
Group Size

---
Distribution of Walking Speeds
Distribution of Walking Speeds

---
Individual Strategies
Individual Strategies

---
Formation of Lanes
Formation of Lanes

---
Movement on Stairs
Movement on Stairs

---
Film Evakuierungsübung FL
Film Evakuierungsübung FL

---
Models
Models

---
Classes of Models
Classes of Models

---
Model
Model
Cells 40cm x 40cm
Cells are accessible or walls
At most one person per cell
(TMK)
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Simulation, Influences
Simulation, Influences
Body Height
Age
Stamina
Speed
Sex
Mobility Impairments

---
Movement Algorithm
Movement Algorithm
Δt = 1s
Conflict solution:
vfree = 3
vfree = 2
vfree = 3
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Potential Spread
Potential Spread
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Transition probabilities
Transition probabilities
Transition probabilities:
Inertia:
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Update  Strategies
Update
Strategies
Hop or stopp
Move as far as possible
Sub-steps
No crossing paths
Kirchner et. al., J. Stat. Mech.: Theor. Exp. (2004) P10011
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Strategy 3 – Sub-Steps
Strategy 3 – Sub-Steps
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Discretization
Discretization
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Non-local Conflicts
Non-local Conflicts
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Clogging at the Exit
Clogging at the Exit
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Higher Flow for a=20cm
Higher Flow for a=20cm
[Speaker Notes: Nachdem nun das Feld durch die empirischen Vorüberlegungen bereitet ist, damit zum eigentlichen Modell.]

---
Flow Models, Assumptions
Flow Models, Assumptions
Flow = f(Density)
No overtaking
Identical Persons
Unhindered Movement
Safety or Correction Factors

---
Flow Models, Basics
Flow Models, Basics
Other Decks
M
Exit
Floor 1
Floor 2
Floor 3
Floor 1
Floor 2
Floor 3
Floor 1
Floor 2
Floor 3

---
Flow Model, Example
Flow Model, Example
Predtetschenski/Milinski
Calculaton of initial density in sqm/sqm
Take flow value from list
Calculate flow time  tFlow
Calculate walking time  tWalk
Total time: tTotal = tFlow + tWalk

---
Flow Models, Assumptions
Flow = f(Density)
No overtaking
Identical Persons
Unhindered Movement
Safety or Correction Factors

---
PedGo
PedGo

---
Film RTL Supertrend
Film RTL Supertrend
RTL Future Trend

---
Software Package
Software Package
PedGo	PedGo Editor
- Simulation	- Import DXF-Files
- Analysis	- Model scenario

---
Personal Parameters
Personal Parameters

---
Routes
Routes
Define different routes for different groups
Crew and passenger routes

---
Flow-Density-Relation
Flow-Density-Relation

---
Simulation, Results
Simulation, Results
Statistical Distribution of Total Times
Interaction of Persons
Different Behavior
High Calculation Speed
Variation of Scenarios (Sensitivity Analysis)
Fast Implementation of Geometrical Changes

---
Simulation, Results
Density plots (integrated over time):
Red Areas: congestion ( > 3.5 /sqm, 0.1 T)
Yellow Areas: medium congestion (0.01 T)
Green Areas: little congestion (1 second)
Animations/Screenshots:
Red dots: people standing
Yellow dots: medium speed
Green dots: free walking speed (vmax)

---
New Jamarat Bridge
New Jamarat Bridge

---
Film Mekka
Film Mekka
National Geographic.wmf

---
Simulation Jamarat Bridge
Simulation Jamarat Bridge
Assessment of the new design with respect to evacuation via side-towers.

---
Westfalenstadion Dortmund
Westfalenstadion Dortmund
rot:	Walls
Barriers
grün:	Stairs
Level 7
Level 6
Level 5
Level 4
Level 3
Level 2
Level 1
[Speaker Notes: Für die Simulation wird der Grundriss in miteinander verbundene Ebenen aufgeteilt: Quasi 3 dimensionale Darstellung.]

---
Egress
Egress
Exits
Level 1
Level 2
Congestion on the stairway  no congestion at the exits.
[Speaker Notes: Betrachtung der Ausgänge mit den Personen, die über die Ecktürme kommen.]

---
Techniques
Techniques

---
Steps
Steps
Pruning
Coloring
Modeling
Scenarios
Simulation
Evaluation

---
St Evakuus, Floor-plan
St Evakuus, Floor-plan
Gallery
226 Persons
(202: seats, 24: choir)
Ground floor (exit)
793 Persons
(788: seats,
5: wheelchairs)

---
Work-flow
Work-flow
Grid-based
Floor-plan
Evaluation
Simulation
Preprocessed
CAD
CAD-
drawing

---
Preprocessing Pruning
Preprocessing
Pruning

---
Preprocessing, Pruning
Preprocessing, Pruning
Remove numbers and dimension lines

---
Preprocessing, Pruning
Remove text

---
Preprocessing, Pruning
Remove hatches and similar lines

---
Preprocessing, Pruning
Remove irrelevant equipment (like faucets)

---
Preprocessing Coloring
Preprocessing
Coloring

---
Preprocessing, Coloring
Preprocessing, Coloring
Color = Information (door, stair, ignore, ...)

---
Modeling
Modeling

---
Preprocessing, Modeling
Preprocessing, Modeling
Import the pre-processed files (dxf)

---
Preprocessing, Modeling
Preprocessing, Modeling
Automatically superimpose grid

---
Preprocessing, Modeling
Automatically project to grid

---
Preprocessing, Modeling
Definition of colors (mapping to function)

---
Preprocessing, Modeling
Automatically assign cell information

---
Assessment based on Simulation Results
Assessment based on Simulation Results

---
Scenarios
Scenarios

---
Scenarios, Case 1 (standard)
Scenarios, Case 1 (standard)
Persons leave the building via the main egress routes.

---
Scenarios, Case 2 (peripheral)
Scenarios, Case 2 (peripheral)
Persons leave the building via the external stairs and exits.

---
Scenarios, Case 3 (central)
Scenarios, Case 3 (central)
Persons leave the building via the inlaying stairs and exits.

---
Scenarios, Case 4 (only main)
Scenarios, Case 4 (only main)
All persons leave the building via the main exit.

---
Population
Population
Standard Population:
Wheelchairs:

---
Simulation - Animation
Simulation - Animation

---
Simulation - Cases
Simulation - Cases
500 simulation runs per case
Simulation speed:
  - Celeron; 450 MHz	 20 min
  - Pentium IV; 2,2 GHz	 5 min
Additional variation of reaction time for Case 1 (equally distributed):
  - 0-10 s
  - 0-60 s
  - 0-120 s

---
Results, Egress times
Results, Egress times
Conclusion:
Reaction time influences egress time only insignificantly.
Route choice may have a major influence on egress time.
5:42 min
2 (outdoors)
5:21 min
3 (indoors)
9:33 min
4 (main exit)
5:38 min
1.3 (0-120 s)
5:03 min
1.2 (0-10 s)
5:16 min
1.1 (0-60 s)
Significant time
Case

---
Results, Congestion
Results, Congestion
Conclusion:
The size of the jams increases with decreasing reaction time.
There is hardly congestion on the gallery due to the low initial density.
Case 1.3 (0-120 s)
Case 1.1 (0-60 s)
Case 1.2 (0-10 s)

---
Results, Identification of congestion
Results, Identification of congestion
Conclusion:
Hardly congestion on the gallery due to low initial density.
There is always congestion in the central corridor (ground floor) and in front of the main exits.
Case 2 (outside)
Case 4 (only main)
Case 3 (inside)
Case 1.1 (standard)

---
Results, Egress curves
Results, Egress curves
Conclusion:
Cases 1-3 are similar to each other.
Case 4 is the worst case.

---
Limits Principal, Time, Memory
Limits
Principal, Time, Memory

---
Restrictions
Restrictions
Geometry: 100m x 100m
Population: 100.000
Many Psychological Aspects
Details of Deployment
and Embarkation

---
Aker Genesis
Aker Genesis
~ 8.000 persons
21 decks
> 360 m long
Editor (pg2)
(show decks)

---
PedGo - Program
PedGo - Program
Night case
Open PedGo

---
PedGo - Simulation
PedGo - Simulation
Night case
Animation Decks 3 to 7

---
The end
The end
Presentation, Publications,
Manual, Information, Links
www.traffgo-ht.com